975NM FLAT PUMP MIRROR FOR FIBER LASER CAVITY

(HR COATING FOR 1060 – 1200NM LASING WAVELENGTH)

| ITEM | QTY | PART NO./DESCRIPTIONS |  |
| --- | --- | --- | --- |
| F F1 |  | 975nm Pump/Coupling Mirror For 1100nm Band Cavity Use - Plano-plano, UV Fused silica - Surface quality: 20-10 scratch/dig; - Flatness: (/10 over aperture - Parallelism: < 3” DIELECTRIC COATING: - Surface 1 (S1) Coating: AR @800-1200nm 0o AOI, R<0.2% - Surface 2 (S2): HT @ 910-990nm + HR @ 1060 ~ 1200nm Dia: (15.0, -0.2/+0.0mm; Thickness: T =3.00(0.05mm P/N: PPM1100(975)-PP-15/3- |  |

# Text boxes

HT @ 910- 990nm

HR @ 1060 - 1200nm

(15mm ((1” Adaptor (c/w retaining ring) available in stock

S1: FLAT

S2: FLAT

## AR @800-1200nm